Date:

SCHEDULE OF TEST RESULTS

Testing shall be carried out in accordance with AS/NZS 3000:2018 clause 8.3.

Date:

SCHEDULE OF TEST RESULTS

Testing shall be carried out in accordance with AS/NZS 3000:2018 clause 8.3.

Address / location:

Registered Electrical Workers name:	Signature:

Licence no.

Switchboard / distribution board No:	PSCb at Main Switch:	kA

All live parts screened from touch without use of tool:	Yes / No

Incoming current (if supply avail.): RØ	A,	WØ	A,	BØ	A.

Test Equipment:

Type: Type:

Serial No. Serial No.

Calibration date: Calibration date:

Type: Type:

Serial No. Serial No.

Calibration date: Calibration date

# MAIN SWITCHBOARD, CONSUMERS MAINS & MAIN EARTH

| M.E.N. Connection & Main Switchboard earthing compliant :- Y / N | Main Switch / Load Limiter |  |  | Conductor |  | Earth Continuity - ohms |  | Insulation Resistance - Megohms |  |  |  | Polarity /  | Correct circuit connections | Comments: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Typea | Current rating A | PSCb rating kA | C.C.Cc A | Size mm² | Main earth conductor | EQ bonding conductorsd | A - Ed | A - Nd | N - E | Phase - Phased |  |  |  |
|  |  |  |  |  |  | Ω | Ω |  |  |  |  |  |  |  |

SUBMAINS

| Circuit ID & no. of Phases | Over Current Protective Device |  |  | Conductor |  | Earth Continuity - ohms |  | Insulation Resistance - Megohms |  |  |  | Polarity /  | Correct circuit connections | Earth fault loop impedance | RCD test results |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Typea | Current rating A | PSCb rating kA | C.C.Cc A | Size mm² | Submain earths | EQ bonding conductorsd | A - Ed | A - Nd | N - E | Phase - Phased |  |  |  | Push button test | Current trip test - ms | Supply not avail. | No RCD |
|  |  |  |  |  |  | Ω | Ω |  |  |  |  |  |  | Ω |  |  |  |  |
|  |  |  |  |  |  | Ω | Ω |  |  |  |  |  |  | Ω |  |  |  |  |
|  |  |  |  |  |  | Ω | Ω |  |  |  |  |  |  | Ω |  |  |  |  |

FINAL SUB CIRCUITS

| Circuit ID & no. of Phases | Over Current Protective Device |  |  | Conductor |  | Earth Continuity - ohms |  | Insulation Resistance - Megohms |  |  |  | Polarity /  | Correct circuit connections | Earth fault loop impedance | RCD test results |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Typea | Current rating A | PSCb rating kA | C.C.Cc A | Size mm² | Protective earths | EQ bonding conductorsd | A - Ed | A - Nd | N - E | Phase - Phased |  |  |  | Push button test | Current trip test - ms | Supply not avail. | No RCD |
|  |  |  |  |  |  | Ω | Ω |  |  |  |  |  |  | Ω |  |  |  |  |
|  |  |  |  |  |  | Ω | Ω |  |  |  |  |  |  | Ω |  |  |  |  |
|  |  |  |  |  |  | Ω | Ω |  |  |  |  |  |  | Ω |  |  |  |  |
|  |  |  |  |  |  | Ω | Ω |  |  |  |  |  |  | Ω |  |  |  |  |
|  |  |  |  |  |  | Ω | Ω |  |  |  |  |  |  | Ω |  |  |  |  |
|  |  |  |  |  |  | Ω | Ω |  |  |  |  |  |  | Ω |  |  |  |  |
|  |  |  |  |  |  | Ω | Ω |  |  |  |  |  |  | Ω |  |  |  |  |
|  |  |  |  |  |  | Ω | Ω |  |  |  |  |  |  | Ω |  |  |  |  |
|  |  |  |  |  |  | Ω | Ω |  |  |  |  |  |  | Ω |  |  |  |  |
|  |  |  |  |  |  | Ω | Ω |  |  |  |  |  |  | Ω |  |  |  |  |

NOTES:

a Protective device types : Rewirable fuse =rf, HRC fuse = hrc, Circuit breaker = c/b B,C or D, MCB/RCD combo = rcd, Isolator = isol.

b PSC = Prospective Short-circuit current in kA.Ref: AS/NZS 3000:2007 clause 2.5.

c C.C.C = Current Carrying Capacity of the conductor after derating in AR. ef: AS/NZS 3000:2007 clause 3.4.

d Where multiple results are obtained due to multiphase, multiple EQ bonds etc. record the lowest insulation resistance & highest earth resistance readings obtained.